## Unique Parts (no price)
Part Number | Designation | Standard Price
605865-1 | BRACKET,SEIO,MOUNTING,ROLLER,LEFT
604620-4 | X-RAY TUBE,VARIAN,THIN-ANODE,TH SW
605865-2 | BRACKET,SEIO,MOUNTING,ROLLER,RIGHT
604620-5 | HIGH VOLTAGE POWER SUPPLY
608569-1 | KIT,HP RAIN SERVER,MUXV2,F14
604620-6 | PCB ASSEMBLY HVIC-3 W/FIRMWARE
604620-7 | PWA, SDSII/HVICII-2, CTX9400
604620-8 | DC POWER SUPPLY, 5 KW, INPUT: 342/4
605557-7 | PWRSPLY ASSY,HI VOLT,GEN 2,9400/9800
604620-9 | ASSY,(UPS,6000 VA,400 VAC,3-PHASE,220 V)
604620-10 | ASSY,EXTERNAL BAT MODULE98D,CONFIGURD
605557-6 | PS ASSEMBLY,HI VOLT,ECLIPSE,9800SEIO
604620-11 | UPS RACK 3 KVA 230VAC/ correct PN
604620-12 | HVAC 4-TON ROHS
604620-13 | COMPUTER ASSY, HOST, PROGRAMMED, X800
604620-14 | PWA, GLOBAL BACKPLANE 1
604620-15 | PWA, GLOBAL BACKPLANE 2
604620-16 | PWA, DAS CONTROL BOARD, PROGRAMMED
604620-17 | PWA, POWER DISTRIBUTION PANEL, SEIO
604620-18 | PWA,PDB1,DAS
604606-3 | ASSY, HEAT EXCHANGER CTX9800
604620-19 | PWA,PDB2, DAS
604620-20 | PWA,POWER DISTRIBUTION AUX2,SEIO
604620-21 | TRANSMITTER, 2.5 GBIT, DUAL CHANNEL
604754-3RW | DETECTOR MODULE ASSY (DMA),CTX 9800DSI
604620-22 | RECEIVER, 2.5 GBIT, DUAL CHANNEL
604754-1 | DETECTOR MODULE ASSY (DMA),CTX 9800DSI
604620-23 | PWA, ENCODER ASSY, MODIFIED
604620-24 | KIT, ENCODER SENSOR BOARD,CTX 9800
604620-25 | DETECTOR MODULE ASSY (DMA),CTX 9800DSI
P4511430 | UPS RACK 3 KVA 230VAC/ correct PN
604620-26 | MODULE,ADAM 6050-CE,ETHERNET CONTROLLER
605440-1 | PWA, GLOBAL BACKPLANE 1
604620-27 | FAN, 48VDC, 312CFM
605445-1 | PWA, GLOBAL BACKPLANE 2
604620-28 | BRUSH,BLACK
604620-29 | BRUSH,SILVER
606012-1 | Shield CT window/ tunel
604620-30 | BRUSH,8 X 10 CA40
608118-1 | WINDOW, CT, LOWER, SEIO
604620-31 | FLTR,AIR,MERV-8,14x20x1,TRADE SIZE
605887-2 | ASSY, SEIO, SLIDERBED, RADIUS
604620-32 | FILTER,AIR,EVAPORATOR,14 X 16 X 1 IN.
604620-33 | PANEL, CT, WINDOW slider
604620-34 | Shield CT window/ tunel
604620-35 | PANEL, CT WINDOW, SLIDERBED
604620-36 | MON,FLT PNL,17 INCH W/LED BACKLIGHTING
604620-37 | OEM,UPS,24V IN,24V OUT,W/12V 5AH BATT
604788-1 | Receiver unit 2.5GBit/s
604620-38 | POWER SUPPLY,MONITOR,LCD, (ELO MONITORS)
604620-39 | PS,48VDC,10A,480W,SINGLE OUTPUT
604620-40 | PWR SUP DIN RAIL 24V 20A 480W
1009243-01 | COMPUTER ASSY, HOST, PROGRAMMED, X800
604620-41 | PWR SUP DIN RAIL 24V 10A 240W
604620-42 | BELT, CONVEYOR, ZIPPER, SEIO
604620-43 | ASSY, GANTRY POWER SUPPLY
604620-44 | WINDOW, CT, LOWER, SEIO
608140-2 | ASSY, MOTION CONTROL
604620-45 | MOTOR, BRUSHLESS SERVO, 7.8 NM
604620-46 | SWITCH, ETHERNET, 24 PORT GIGABIT/ Netgear
606029-1 | ASSY, SEIO, DRIVE PULLEY TENSION
604620-47 | Switch cisco 3750 24 Ethernet Ports
500421-2 | PWA, MOTION BOARD, CTX9800
608623-1 | CABLE,ENET,CAT6,18FT,GANTRY MOTION CNTRL
608623-2 | CABLE,ENET,CAT6,18',SW-CNVR MTN CNTRL
608623-3 | CABLE ASSY,ENET,CAT6,18FT,SW TO DC PS
608623-4 | CABLE,ENET,CAT6,18FT,SW TO UPS PORT 1
608624-1 | CABLE,ENET,CAT6,4FT,SW TO HOST CMPTR TOP
608624-2 | CABLE,ENET,CAT6,4FT,SW TO HOST CMPTR BOT
608625-1 | CABLE ASSY, ETHERNET, CAT6, 20FT,SW J1
608625-10 | CABLE ASSY, ETHERNET, CAT6, 20FT,SW J21T
608625-11 | CABLE ASSY, ETHERNET, CAT6, 20FT,SW J22T
608625-2 | CABLE ASSY, ETHERNET, CAT6, 20FT,SW J2
608625-3 | CABLE ASSY, ETHERNET, CAT6, 20FT,SW J3
608625-4 | CABLE ASSY, ETHERNET, CAT6, 20FT.SW J8
608625-5 | CABLE ASSY, ETHERNET, CAT6, 20FT,SW J9
608625-6 | CABLE ASSY, ETHERNET, CAT6, 20FT,SW J10
608625-7 | CABLE ASSY, ETHERNET, CAT6, 20FT,SW J12
608308-1 | CABLE ASSY, POWER, PMA OUTPUT
608625-8 | CABLE ASSY, ETHERNET, CAT6, 20FT,SW J13
608312-1 | CABLE ASSY,PDB AUX4 TO GLOBAL BKPLN 2
608625-9 | CABLE ASSY,ENET,CAT6,20FT,RCN CPU ADPTR
608567-1 | CABLE ASSY, HX4 TO GB1, SDS
608626-1 | CABLE ASSY, UPS TO PLC POWER STRIP
608228-1 | ASSY,PWA,PWR DISTRIBUTION,HEAT EXCHANGER